## Preamble
PREAMBLE TO THE BILL OF QUANTITIES
Unless otherwise specified, the rates quoted for items shall include the following :
1 | Cost of procurement, supply of all materials, loading, unloading, labour, equipment, tools & plants required, fixing, temporary supports / structures, conveyance, transportation, all the infrastructure facilities required, etc for the completion / finish of the item in all respect.
2 | Work at any depth below ground level or any height above ground level and at all levels, heights & elevation and location.
3 | All scaffolding, ladders, platforms, staging and plant required in the execution of work to any height and depth.
4 | Final preparation of base sub-grade or sub-floor by cleaning of all dust/dirt, loose particles, caulked mortar dropping by scrubbing with coir or steel wire brushes, caulking etc. Roughening surface if so directed, cleaning with water and keeping surface wet for 12 hours and removing surplus water by mopping before topping is laid and minor trimming of the base to remove undulations.
5 | Cleaning, preparation of surface and watering immediately before laying the floor as directed.
6 | Providing bedding layer of mortar for flooring / skirting / dadoing / steps shall be as specified.
7 | Cutting, rubbing and polishing where applicable (both machine and hand) including grinding, rubbing, acid cleaning, wax and tin-oxide polishing etc.
8 | Keeping the surface wet for a minimum period of one week.
9 | Providing all Marble and or granite slab / tile flooring, skirting, dadooing with neat white cement slurry coat to the required thickness over bed mortar before laying the slab/tile. All cladding works in granite and or marble slab / tile etc,shall be provided with requisite brass / gun metal clamps / stainless steel clamps and keys in required sizes and pattern. Unless noted otherwise in the bills of materials brass / gun metal clamps / stainless steel clamps and keys shall be suitably designed to the requirement of internal wall cladding and to be designed to the specified wind pressure in the case of external wall cladding.
10 | Providing vitrified ceramic tile,ceramic tile, glazed tile flooring with the clamps bedding layer of mortar as specified in the bill of quantities .
11 | Providing vitrified ceramic tile, ceramic tiles glazed tile skirting and dadoing with bedding layer of mortar as specified in the bill of quantities or with bedding layer of "Approved” Water proof Tile Adhesive or equivalent "Laticrete product" for fixing and pointing shall have ‘Approved – Joint Fillers’ or equivalent "Laticrete product" of approved shade and colour as per Manufacturer's Specification.
12 | All Vitrified ceramic tile, ceramic tile, glazed tile skirting and dadoing shall have final light acid cleaning.
13 | Work in jambs, soffits and sills of openings in Lift entrance/ Main entrance shall be arranged to match with the surrounding finishes and as directed by PMC / Company.
14 | Formation of vertical grooves on vertical surfaces and provision of mortar bed of required thickness to achieve proper level / slope.
15 | Provision in small quantities, narrow width, mitred and returned ends, sinking, risers, set back and any other sundry items for cutting, fixing, making good upto and which may be required for forming base.
16 | Any additional mortar or concrete required to bring the surface to the required level and gradient before laying the base mortar at no extra cost.The rates for beds and backings shall include for forming keys.
17 | Machine crushed coarse graded aggregate shall be hard broken blue granite of sizes specified only to be used for concrete works.
18 | Cement used for all flooring works shall be High strength ordinary portland cement Grade- 43.
19 | Coarse graded sand shall be used for mortars in all flooring works.
20 | Tests on materials shall conform to IS Specification and the test shall be carried out as directed either at site Laboratory or at any approved test laboratory.
21 | Rate to include protection of work with suitable means till handing over of the area for usage and also clearing and disposing of the protection material outside the site premises at the time of handing over of the site.
22 | Rate to include for all setting out temporary rules, templates and supports required to carryout the work and cleaning the surface upon completion of the work..
23 | Spacers, cover guards, necessary expansion/ isolation joints in accordance with good building practice and manufacturers recommendations etc. to tiling or the like to be included in the rates for the various finishing works.
24 | Rate to include all materials and labour required for making good around pipes, ducting and fittings and the like are to be included.
25 | The rates for square and rounded edges, coving at wall, floor and ceiling junctions, quirks, veer-joints and making good to frames and the like are to be included.
26 | The rates for preparation of mock-ups for final approval as directed by the PMC / Company are to be included.
27 | The rates for submission of detailed co-ordinated shop drawings indicating all details as per actual Site conditions are to be included.
28 | The rates for all paving's and screeds are to include for laying or finishing to falls and cross-falls where required and for laying on landings of staircases where relevant."
29 | The rates for work to staircases are to include for working to treads and risers of staircases and to edges of landings.
30 | The rates for tile, slab, block and sheet finishing's and backgrounds are to include for all fixings, bedding and jointing, and for all straight, raking and curved cutting, and for rounded edges where required.
31 | The rates for Floor finish tiles are to include for expansion joints at perimeters and between bays where directed by the PMC / Company
32 | The rates for sills, skirting's, and the like are to include, where relevant for all angles, ends and short lengths, for all hacking, raking out, scratching background surfaces to form keys and for brushing, cleaning off and dampening background surfaces before laying.
33 | Machine crushed coarse graded aggregate shall be hard broken blue granite of sizes specified only to be used for concrete works.
34 | All materials supplied shall be free from manufacturing defects and defective workmanship. Any defects noticed shall be made good, at no extra cost. All materials shall have the guarantee and warranty as specified in the contract document.
35 | Rate for door & hardwares to include lifting, placing in position, jointing and painting of materials as specified in the Bills of materials.
36 | All Specialized items shall be pre-ordered and to be carried out only on prior approval.
37 | Hardware fittings and fixtures shall be made with structural properties to sustain safety and withstand strains and stresses to which they are normally subjected, such as opening and closing, wind pressure etc. Fittings shall generally conform to relevant IS specifications.
38 | Hardware fittings shall be made true, clean, straight, with sharply defined profiles and unless otherwise shown or specified, with true smooth surfaces and edges, free from defects, screw holes shall be counter sunk to suit the head of wood screws. All hardware fittings shall be of approved make.
39 | Metal shall be treated with finish as specified in the Tender document.
40 | All other specified Hardware fittings shall be free from defects impairing strength, durability or appearance and of the best quality obtainable for their particular function and situation in structure and the approved fittings only shall be used. All screws shall be of best quality stainless steel Mild Steel Copper Oxidised or brass. Weight and / or thickness of the fittings without screws shall be in accordance with IS.
41 | Hardware fittings like aldrops, handles and knobs etc., shall be fitted to the joinery items with the machine threaded stainless steel screws from the back side in addition of regular screws and nuts so as not to permit removal of fittings from the side where fittings are seen.
42 | Hardware fittings should be as per the technical specification and where there is a discrepancies in the specifications need to be informed to PMC prior to ordering / execution of the said work. Samples to be provided for approval prior to ordering / executing of the hardwares installation.
43 | Sliding Bolts / Latches shall be of stainless steel /M.S Brass and shall be capable of smooth sliding action. Generally, size of latch shall be taken as the length of the bolt catch.
44 | Tower bolts shall be provided with steel spring and ball shall be provided between the sheet and the barrel. Size of tower bolts shall be taken as the length of barrel without top socket.
45 | All the door frames and door shutters shall be as per technical specification and rate to include all leads, lifts, storage, handling / double handling, etc. The rolling shutters shall confirm to the technical specifications and should include all hardwares, fittings, etc that are required to complete the installation work.
46 | Anti-corrosive treatment to structural steel with specialised painting for all steel works should be carried out including preparation of surface confirming to IS specifications.
47 | All materials supplied shall be free from manufacturing defects and defective workmanship and guaranteed. Any defects noticed shall be made good, at no extra cost.
48 | Workmanship and finish of the fabricated items should be as per approved standards and confirming to IS specification.
49 | Painting shall be provided with two or more coats of approved brand as specified.
50 | Extra coat of painting shall be given to obtain uniform and good finish and extra putty shall be applied to ensure uniform and smooth finish, if directed by PMC / Company at no extra cost.
51 | Tests on materials shall conform to IS Specification and the test shall be carried out as directed either at site Laboratory or at any approved test laboratory.
52 | Rate to include all necessary hardwares, fittings, fixtures that are required as per drawings / technical specification and as required to complete the work in all respect.
Date : Signature of the Contractor
Place :

## BOQ - Finishing
ESTIMATE FOR RESIDENCE AT KUNDLI
S.NO | DESCRIPTION | Unit | TDI |  |  | MMI
|  |  | QTY | RATE | TOTAL | Qty | Rates (L+M) | CP + OH | Rates | Amount
1 | FLOORING | [6 empty] | 15%
1.01 | Family lounge/Dinning + Kitchen + Master Bedroom +3no.bedrooms+Basement tiles: Providing and laying Vitrified tiles of required size (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 20mm thick cement mortar 1:4 (1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (Basic Rate- 60Rs./sft) | Sqft | 6600 | 90 | 594000 | 5334.6266 | 100 | 15 | 115 | 613482.0544
1.02 | Toilet Flooring: Providing and laying vetrified Anti skid floor tiles of required size (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 20mm thick cement mortar 1:4(1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (Basic Rate- 40Rs./sft) | Sqft | 1000 | 90 | 90000 | 647.6236 | 77 | 11.55 | 88.55 | 57347.0693
1.03 | Staircase : Providing and fixing of Granite stone over 20 mm thick base of cement mortar 1 : 4 (1 Cement : 4 Coarse Sand) laid and jointed with grey cement slurry including in stair case , risers, trade and landing. (Basic Rate- 105 Rs./sft) | Sqft | 1000 | 180 | 180000 | 774.1598 | 181 | 27.15 | 208.15 | 161141.3617
1.04 | Parking area : Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction and of approved size and design/ shape laid in required colour and pattern over and including 50mm thick compacted bed of course sand, filling the joints with coarse sand etc. all complete as per the direction of Engineer-in-Charge. (Basic Rate- 60 Rs./sft) | Sqft | 1200 | 190 | 228000 | 866.4826 | 78 | 11.7 | 89.7 | 77723.4914
2 | TOILET AND KICTHEN CLADDING
2.01 | Toilet Wall: Providing and fixing vetrified 1st quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (Basic Rate- 40Rs./sft) | Sqft | 6500 | 100 | 650000 | 3646.8001 | 83 | 12.45 | 95.45 | 348087.0737
3 | ELECTRICAL
3.01 | Providing and fixing of switch boards, conduiting , cutting of lights , wiring (make Havells , kalinga gold),fan points, ceiling leds.
| Total area |  |  |  | 600000 |  |  |  |  | 600000
4 | FALSE CEILING
0.01 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I | Sqft | 1800 | 100 | 180000 | 1768.4229 | 75 | 11.25 | 86.25 | 152526.4787
4.02 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. (only on ceiling) | Sqft | 6500 | 15 | 97500 | 6481.0905 | 15 | 2.25 | 17.25 | 111798.8113
5 | PAINT AND POLISH WORKS
5.01 | Providing and applying 3 or more coats of paint of approved manufacturer and shade to walls and ceiling and other similar areas at all levels, applied evenly to produce uniform even surface to approved finish including cleaning and preparing the surface, puttying as per manufacturer's specifications, applying a coat of approved primer, etc., complete at all levels. Paint to be used: Velvet touch Equivalent. | Sqft | 18000 | 35 | 630000 | 18987.8575 | 19 | 2.85 | 21.85 | 414884.6855
5.02 | EXTERIOR RUSTIC AND MATT PAINT | Sqft | 4000 | 25 | 100000 | 6003.9603 | 18 | 2.7 | 20.7 | 124281.9789
6 | PLUMBING WORK
6.01 | Providing and fixing of all sanitary fixtures including shower , bodyjet , wc , basin etc. , all plumbing upvc internal lines with proper waterproofing of both toilets at floors. | Nos | 15 | L.S | 900000 |  |  |  |  | 900000
7 | GLASS WORK
7.01 | Providing and fixing of 5mm toughned glasses in windows and ventelator. (Basic Rate- 70 Rs./sft) | Sqft | 900 | 60 | 54000 | 779.9864 | 81 | 12.15 | 93.15 | 72655.7285
[8 empty] | 0 | 0 | 0
8 | WOODWORK | [8 empty] | 0
8.1 | Providing and fixing of 32MM Thick Flush doors with laminate 1mm of greenlam/stylam or equivalent) including edge margin to be polish finished all fittings of Dorset accessories (door handles-LETIZIA ML LET OR SS , locks-ML 170 (LOCK BODY)ML 170 EPL ,tower bolt-TS-8155-STAINLESS STEEL TOWER 8" BOLTSs, hinges-HG 1150SS-STAINLESS STEEL BALL BEARING 3",magic eye small-MES (Z) (Complete with Accessories & Fitting ) (32mm thick Flush door shutter, base rate = 320 Rs/ Sqft) | Nos | 50 | 12500 | 625000 | 44 | 10500 | 1575 | 12075 | 531300
8.2 | Wardrobe to be made out of particle board ply with shutter with laminate finish. | Sqft | 375 | 700 | 262500 | 397.6179 |  | 0 | 700 | 278332.4981
[8 empty] | 0 | 0 | 0
8.3 | Modular kitchen to be made out of particle board ply with high gloss laminate and lacquer glass at the overheads with all architectural fittings . | Nos | 3 | L.S | 225000 | 3 |  | 0 | 100000 | 300000
[8 empty] | 0 | 0 | 0
8.4 | Providing and fixing wood panelling with shera slats 150mm wide, intalled on 1"x1" al frame, along with primer coats and final finish with protective p.u. coating. (Shera slats Base Rate = 90 Rs/Sqft) | Sqft | 450 | 430 | 193500 | 450 | 181 | 27.15 | 208.15 | 93667.5
[8 empty] | 0 | 0 | 0
9 | Railing
9.1 | Providing and fixing stainless steel Balcony railing with 12 mm thick toughened glass and c chanel grouted in floor including fitting and fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size. (Top rail in 2" dia ss pipe) | Rft | 150 | 1100 | 165000 | 191.7488 | 1257 | 188.55 | 1445.55 | 277182.4778
[8 empty] | 0 | 0 | 0
9.2 | Providing and fixing of MS Railing in staircase : fabricated with 12mm x 12mm ms solid and top rail in 3"3 moulded teak wood (Duco painted) | Rft | 150 | 170 | 25500 | 116.112 | 508 | 76.2 | 584.2 | 67832.6304
[9 empty] | 0 | 0
TOTAL COVERED AREA = 1657SQFT.
| ESTIMATED COST |  |  |  | 5800000 |  |  |  |  | 5182243.8399
Note :- The above rates are exclusive of WCT, Service Tax and all other taxes applicable
Note on G43: Verma, Hansraj: To be discussed

## MS
QUANTITY TAKE-OFF
10.764
S.No | Description | Type | Unit | No.of Floors | Nos/ Steps | L/Area | B/Perimeter | Depth/Height | Qty | QTY in SFT | Assumptions/Remarks
A | Flooring
| Basement | Vitrified Tiles | Sqm | 1 | 1 | 131.0271 |  |  | 131.0271 | 1410.3757
| Basement Skirting | Vitrified Tiles | Sqm | 1 | 1 |  | 90.3 | 0.1 | 9.03 | 97.1989
| Ground Floor | Vitrified Tiles | Sqm | 1 | 1 | 103.8 |  |  | 103.8 | 1117.3032
| GF Skirting | Vitrified Tiles | Sqm | 1 | 1 |  | 98.18 | 0.1 | 9.818 | 105.681
| First / Second Floor | Vitrified Tiles | Sqm | 2 | 1 | 103.5732 |  |  | 207.1464 | 2229.7238
| FF/SF Skirting | Vitrified Tiles | Sqm | 2 | 1 |  | 97.72 | 0.1 | 19.544 | 210.3716
| Servant Room | Vitrified Tiles | Sqm | 3 | 1 | 4.2378 |  |  | 12.7134 | 136.847
| Servant Room Skirting | Vitrified Tiles | Sqm | 3 | 1 |  | 8.4 | 0.1 | 2.52 | 27.1253
| Toilet - Basement | T.Vitrified Tiles | Sqm | 1 | 1 | 8.8807 |  |  | 8.8807 | 95.5919
| Toilet-Typical | T.Vitrified Tiles | Sqm | 3 | 1 | 17.095 |  |  | 51.285 | 552.0317
Staircase - Basement
| Treads | Granite | Sqm | 1 | 17 | 0.9 | 0.25 |  | 3.825 | 41.1723
| Risers | Granite | Sqm | 1 | 18 | 0.9 |  | 0.175 | 2.835 | 30.5159
| Landing | Granite | Sqm | 1 | 1 | 0.9 | 0.4 |  | 0.36 | 3.875
| Staircase - Typical | [7 empty] | 0 | 0
| Treads | Granite | Sqm | 3 | 20 | 1.2 | 0.25 |  | 18 | 193.752
| Risers | Granite | Sqm | 3 | 21 | 1.2 |  | 0.175 | 13.23 | 142.4077
| Landing | Granite | Sqm | 3 |  | 6.1929 |  |  | 18.5787 | 199.9811
| Extra at GF | Granite | Sqm | 1 |  | 7.46 |  |  | 7.46 | 80.2994
| Staircase Skirting | Granite | Sqm | 3 |  | 12 |  | 0.1 | 3.6 | 38.7504
| skirting riser | Granite | Sqm | 3 | 21 | 0.1 |  | 0.175 | 1.1025 | 11.8673
| Mumty Landing | Granite | Sqm | 1 |  | 2.93 |  |  | 2.93 | 31.5385
| Parking | Paver Tiles | Sqm | 1 | 1 | 80.4982 |  |  | 80.4982 | 866.4826
B | Wall Cladding/Dado
| Toilet - Basement | T.Vitrified Dado | Sqm | 1 | 1 |  | 12 | 2.7 | 32.4 | 348.7536
| Toilet-Typical | T.Vitrified Dado | Sqm | 3 | 1 |  | 37.21 | 2.7 | 301.401 | 3244.2804
| Kitchen | T.Vitrified Dado | Sqm | 3 | 1 |  | 6.6 | 1.2 | 23.76 | 255.7526 | Assumed Tiles 1m above platform
|  | T.Vitrified Dado | Sqm | 3 | 4 |  | 0.6 | 1.2 | 8.64 | 93.001
| Deductions | [7 empty] | 0 | 0
| Doors | T.Vitrified Dado | Sqm | -3 | 4 |  | 0.75 | 2.1 | -18.9 | -203.4396 | Assumed Toilet Doors of Size 750 x 2100
| Ventilator | T.Vitrified Dado | Sqm | -3 | 1 |  | 0.9 | 0.9 | -2.43 | -26.1565 | Assumed a depth of 900mm & width rounded off to the nearest
| Ventilator | T.Vitrified Dado | Sqm | -3 | 3 |  | 0.75 | 0.9 | -6.075 | -65.3913 | Assumed a depth of 900mm & width rounded off to the nearest
C | False Ceiling
| POP Ceiling | POP | Sqm | 3 | 1 | 54.7635 |  |  | 164.2905 | 1768.4229 | Assumed in Living/Dining Area & master Bedroom
D | Punning (Ceiling)
| Basement | Ceiling Punning | Sqm | 1 | 1 | 131.0271 |  |  | 131.0271 | 1410.3757
| Ground Floor | Ceiling Punning | Sqm | 1 | 1 | 103.8032 |  |  | 103.8032 | 1117.3376
| First / Second Floor | Ceiling Punning | Sqm | 2 | 1 | 103.5732 |  |  | 207.1464 | 2229.7238
| Servant Room | Ceiling Punning | Sqm | 3 | 1 | 4.2378 |  |  | 12.7134 | 136.847
| Toilets | Ceiling Punning | Sqm | 3 | 4 | 25.9757 |  |  | 311.7084 | 3355.2292
Deductions
| False Ceiling | Ceiling Punning | Sqm | -3 |  | 54.7635 |  |  | -164.2905 | -1768.4229
E | Paint (3 Coats with Putty)
Interior
| Basement | Interior Paint | Sqm | 1 | 1 |  | 90.3 | 3.25 | 293.475 | 3158.9649
| Ceiling | Interior Paint | Sqm | 1 | 1 |  | 131.03 |  | 131.03 | 1410.4069
Deductions
| Window W1 | Interior Paint | Sqm | -1 | 1 |  | 2.18 | 2.5 | -5.45 | -58.6638 | Assumed a height of 2.5m
| Bedroom Doors D2 | Interior Paint | Sqm | -1 | 1 |  | 1 | 2.1 | -2.1 | -22.6044 | Assumed a rounded width of 1 and height of 2.1m
| Ground Floor | Interior Paint | Sqm | 1 | 1 |  | 98.18 | 3.25 | 319.085 | 3434.6309
| Ceiling | Interior Paint | Sqm | 1 | 1 |  | 103.8 |  | 103.8 | 1117.3032
Deductions
| Staircase W2 | Interior Paint | Sqm | 1 | -1 |  | 1.538 | 2.5 | -3.845 | -41.3876 | Assumed a height of 2.5m
| Bedroom W3 | Interior Paint | Sqm | 1 | -1 |  | 1.423 | 2.5 | -3.5575 | -38.2929 | Assumed a height of 2.5m
| Bedroom W4 | Interior Paint | Sqm | 1 | -1 |  | 1.34 | 2.5 | -3.35 | -36.0594 | Assumed a height of 2.5m
| Bedroom W5 | Interior Paint | Sqm | 1 | -1 |  | 1 | 2.5 | -2.5 | -26.91 | Assumed a height of 2.5m
| Kitchen W6 | Interior Paint | Sqm | 1 | -1 |  | 1.5 | 2.5 | -3.75 | -40.365 | Assumed a height of 2.5m
| M.Bedroom W7 | Interior Paint | Sqm | 1 | -1 |  | 1 | 2.5 | -2.5 | -26.91 | Assumed a height of 2.5m
| Bedroom Doors D2 | Interior Paint | Sqm | 1 | -4 |  | 1.05 | 2.1 | -8.82 | -94.9385 | Assumed a height of 2.1m
| Main Door D1 | Interior Paint | Sqm | 1 | -1 |  | 1.115 | 2.1 | -2.3415 | -25.2039 | Assumed a height of 2.1m
| M.Bedroom Door to Lawn D3 | Interior Paint | Sqm | 1 | -2 |  | 1 | 2.1 | -4.2 | -45.2088 | Assumed a height of 2.1m
| M.Bedroom Door to Dressing D6 | Interior Paint | Sqm | 1 | -1 |  | 0.785 | 2.1 | -1.6485 | -17.7445 | Assumed a height of 2.1m
| First / Second Floor | Interior Paint | Sqm | 2 | 1 |  | 97.72 | 3.25 | 635.18 | 6837.0775
| Ceiling | Interior Paint | Sqm | 2 | 1 |  | 103.57 |  | 207.14 | 2229.655
Deductions
| Staircase W2 | Interior Paint | Sqm | 2 | -1 |  | 1.538 | 2.5 | -7.69 | -82.7752 | Assumed a height of 2.5m
| Bedroom W3 | Interior Paint | Sqm | 2 | -1 |  | 1.423 | 2.5 | -7.115 | -76.5859 | Assumed a height of 2.5m
| Bedroom W4 | Interior Paint | Sqm | 2 | -1 |  | 1.34 | 2.5 | -6.7 | -72.1188 | Assumed a height of 2.5m
| Bedroom W5 | Interior Paint | Sqm | 2 | -1 |  | 1 | 2.5 | -5 | -53.82 | Assumed a height of 2.5m
| Kitchen W6 | Interior Paint | Sqm | 2 | -1 |  | 1.5 | 2.5 | -7.5 | -80.73 | Assumed a height of 2.5m
| M.Bedroom W7 | Interior Paint | Sqm | 2 | -1 |  | 1 | 2.5 | -5 | -53.82 | Assumed a height of 2.5m
| Bedroom Doors D2 | Interior Paint | Sqm | 2 | -4 |  | 1.05 | 2.1 | -17.64 | -189.877 | Assumed a height of 2.1m
| Main Door D1 | Interior Paint | Sqm | 2 | -1 |  | 1.115 | 2.1 | -4.683 | -50.4078 | Assumed a height of 2.1m
| M.Bedroom Door to Lawn D3 | Interior Paint | Sqm | 2 | -2 |  | 1 | 2.1 | -8.4 | -90.4176 | Assumed a height of 2.1m
| M.Bedroom Door to Dressing D6 | Interior Paint | Sqm | 2 | -1 |  | 0.785 | 2.1 | -3.297 | -35.4889 | Assumed a height of 2.1m
| Servant Room | Interior Paint | Sqm | 3 | 1 |  | 8.4 | 3.25 | 81.9 | 881.5716
| Ceiling | Interior Paint | Sqm | 3 | 1 |  | 4.23 |  | 12.69 | 136.5952
| Servant Room Door D4 | Interior Paint | Sqm | 3 | -1 |  | 1 | 2.1 | -6.3 | -67.8132 | Assumed a height of 2.1m
| WC Door D5 | Interior Paint | Sqm | 3 | -1 |  | 0.67 | 2.1 | -4.221 | -45.4348 | Assumed a height of 2.1m
| Toilet - Basement | Interior Paint | Sqm | 1 | 1 |  | 12 | 0.65 | 7.8 | 83.9592 | Deducted Dado Height
| Ceiling | Interior Paint | Sqm | 1 | 1 |  | 8.88 |  | 8.88 | 95.5843
| Doors D7 | Interior Paint | Sqm | 1 | -1 |  | 0.75 | 2.1 | -1.575 | -16.9533 | Assumed a height of 2.1m
| Toilet-Typical | Interior Paint | Sqm | 3 | 1 |  | 37.21 | 0.65 | 72.5595 | 781.0305
| Ceiling | Interior Paint | Sqm | 3 | 1 |  | 17.095 |  | 51.285 | 552.0317
| Doors D8 | Interior Paint | Sqm | 3 | -4 |  | 0.75 | 2.1 | -18.9 | -203.4396 | Assumed a height of 2.1m
| Ventilator | Interior Paint | Sqm | -3 | 1 |  | 0.9 | 0.9 | -2.43 | -26.1565 | Assumed a depth of 900mm & width rounded off to the nearest
| Ventilator | Interior Paint | Sqm | -3 | 3 |  | 0.75 | 0.9 | -6.075 | -65.3913 | Assumed a depth of 900mm & width rounded off to the nearest
| WC Door D5 | Interior Paint | Sqm | 3 | -1 |  | 0.67 | 2.1 | -4.221 | -45.4348 | Assumed a height of 2.1m
Exterior
| Typical Floors | Exterior | Sqm | 1 | 1 |  | 45.26 | 11.6 | 525.016 | 5651.2722
| Inside Parapet | Exterior | Sqm | 1 | 1 |  | 62.85 | 1.1 | 69.135 | 744.1691
| Mumty | Exterior | Sqm | 1 | 1 |  | 14.26 | 2.2 | 31.372 | 337.6882
Deductions
| Deductions | [10 empty] | 1 | 0.738
| Staircase W2 | Exterior | Sqm | 3 | -1 |  | 1.538 | 2.5 | -11.535 | -124.1627 | Assumed a height of 2.5m | 1.5 | 1.538
| Bedroom W3 | Exterior | Sqm | 3 | -1 |  | 1.423 | 2.5 | -10.6725 | -114.8788 | Assumed a height of 2.5m | 0.938 | 1.423
| Bedroom W4 | Exterior | Sqm | 4 | -1 |  | 1.34 | 2.5 | -13.4 | -144.2376 | Assumed a height of 2.5m | 0.853 | 0.738
| Bedroom W5 | Exterior | Sqm | 3 | -1 |  | 1 | 2.5 | -7.5 | -80.73 | Assumed a height of 2.5m |  | 1.34
| Kitchen W6 | Exterior | Sqm | 3 | -1 |  | 1.5 | 2.5 | -11.25 | -121.095 | Assumed a height of 2.5m
| M.Bedroom W7 | Exterior | Sqm | 3 | -1 |  | 1 | 2.5 | -7.5 | -80.73 | Assumed a height of 2.5m
| M.Bedroom Door to Lawn D3 | Exterior | Sqm | 3 | -2 |  | 1 | 2.1 | -12.6 | -135.6264 | Assumed a height of 2.1m
| Ventilator | Exterior | Sqm | 3 | -4 |  | 0.9 | 0.9 | -9.72 | -104.6261 | Assumed a depth of 900mm & width rounded off to the nearest
| Ventilator | Exterior | Sqm | 3 | -5 |  | 0.75 | 0.9 | -10.125 | -108.9855 | Assumed a depth of 900mm & width rounded off to the nearest
F | Glassworks
| Window W1 | Glass | Sqm | 1 | 1 |  | 2.18 | 2.5 | 5.45 | 58.6638 | Assumed a height of 2.5m
| Staircase W2 | Glass | Sqm | 3 | 1 |  | 1.538 | 2.5 | 11.535 | 124.1627 | Assumed a height of 2.5m
| Bedroom W3 | Glass | Sqm | 3 | 1 |  | 1.423 | 2.5 | 10.6725 | 114.8788 | Assumed a height of 2.5m
| Bedroom W4 | Glass | Sqm | 3 | 1 |  | 1.34 | 2.5 | 10.05 | 108.1782 | Assumed a height of 2.5m
| Bedroom W5 | Glass | Sqm | 3 | 1 |  | 1 | 2.5 | 7.5 | 80.73 | Assumed a height of 2.5m
| Kitchen W6 | Glass | Sqm | 3 | 1 |  | 1.5 | 2.5 | 11.25 | 121.095 | Assumed a height of 2.5m
| M.Bedroom W7 | Glass | Sqm | 3 | 1 |  | 1 | 2.5 | 7.5 | 80.73 | Assumed a height of 2.5m
| Ventilator | Glass | Sqm | 3 | 1 |  | 0.9 | 0.9 | 2.43 | 26.1565 | Assumed a depth of 900mm & width rounded off to the nearest
| Ventilator | Glass | Sqm | 3 | 3 |  | 0.75 | 0.9 | 6.075 | 65.3913 | Assumed a depth of 900mm & width rounded off to the nearest
G | Woodwork
(i) | Doors - Basement | Flush Doors | Nos | 1 | 2 |  |  |  | 2 | 2
| Doors -Typical Floors | Flush Doors | Nos | 3 | 14 |  |  |  | 42 | 42
(ii) | Wardrobe | Ply | Sqm | 3 | 1 | 3.972 |  | 3.1 | 36.9396 | 397.6179 | Assumed 2 wardrobes, one in bedrooma nd one in dresser. Height of the wardrobe considered as floor height - skirting - slab thickness
(iii) | Modular Kitchen | Modular | Nos | 3 | 1 |  |  |  | 3 | 3
(iv) | Façade
H | Railing
(i) | SS Railing
| GF Front Side | SS | Rft | 1 | 1 | 10 |  |  | 10 | 32.8
| Front Balcony | SS | Rft | 2 | 1 | 9.85 |  |  | 19.7 | 64.616
| Back Side Balcony | SS | Rft | 2 | 1 | 14.38 |  |  | 28.76 | 94.3328
(ii) | Main Staircase | MS | Rft | 3 | 1 | 6.4 |  |  | 19.2 | 62.976
| Mumty Stair | MS | Rft | 1 | 1 | 1.2 |  |  | 1.2 | 3.936
| Spiral Staircase | MS | Rft | 1 | 1 | 15 |  |  | 15 | 49.2
SUMMARY
| Vitrified Tiles | 5334.6266 | Sqft
| Granite | 774.1598 | Sqft
| Paver Tiles | 866.4826 | Sqft
| T.Vitrified Dado | 3646.8001 | Sqft
| T.Vitrified Tiles | 647.6236 | Sqft
| POP | 1768.4229 | Sqft
| Ceiling Punning | 6481.0905 | Sqft
| Interior Paint | 18987.8575 | Sqft
| Exterior | 5718.0575 | Sqft
| Glass | 779.9864 | Sqft
| Flush Doors | 44 | Nos
| Ply | 397.6179 | Sqft
| Modular | 3 | Nos
| SS | 191.7488 | Sqft
| MS | 116.112 | Sqft

## Analysis
Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc. with 12 mm thick toughened glass and c chanel grouted in floor, including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge.
| Discription | Unit | Quantity | Rate | Amount
Details of cost for = 8 Rmt of 0.5m height
Materials-
Baluster - 3 no. @ 5 Kg/no. = 15.0 Kg
Handrail - 8.0m @ 2.4kg/m= 19.20kg
Total - 34.20 Kg
Add wastage @ 5% = 1.71
| Total = 35.91 kg. | kilogram | 35.91 | 390 | 14004.9
| C Channel = 8.0 m @ 1.5 Kg/m = 12 Kg | kilogram | 12 | 55 | 660
| Connectors | Nos | 2 | 125 | 250
| Carriage of Railing & Baluster | tonne | .133 | 47.29 | 6.2896
| Toughened Glass 12mm thick | Sqm | 4 | 2797.6 | 11190.4
Labour for cutting assembling, finishing & erection
| Labour Rate SS | KG |  |  | 5027.4
| Labour Rate MS | KG |  |  | 420
| Labour Rate Glasswork | Sqm |  |  | 1076
| TOTAL |  |  |  | 32634.9896
| Add for water charges @ 1% on all except |  |  |  | 326.3499
| TOTAL |  |  |  | 32961.3395
| Cost for 8 Rmt |  |  |  | 32961.3395
| Cost per 1 Rmt |  |  |  | 4120.1674
| Say |  |  |  | 4121
1257
10.28 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge.
| Discription | Unit | Quantity | Rate | Amount
Details of cost for = 8 m
Materials-
Baluster - 8 no. @7.5 Kg/no. = 60.0 Kg
Handrail - 8.0m @ 2.4kg/m= 19.20kg
Total - 79.20 Kg
Add wastage @ 5% = 3.96
| Total = 83.16 kg. | kilogram | 83.16 | 390 | 32432.4
| C Channel = 8.0 m @ 2.21 Kg/m = 17.68 Kg | kilogram | 17.68 | 55 | 972.4
| Connectors | Nos | 24 | 125 | 3000
| Carriage of Railing & Baluster | tonne | .133 | 47.29 | 6.2896
Labour for cutting assembling, finishing & erection
| Labour Rate SS | KG |  |  | 5027.4
| Labour Rate MS | KG |  |  | 420
| TOTAL |  |  |  | 41858.4896
| Add for water charges @ 1% on all except |  |  |  | 418.5849
| TOTAL |  |  |  | 42277.0745
| Cost for 8 Rmt |  |  |  | 42277.0745
| Cost per 1 Rmt |  |  |  | 5284.6343
| Say |  |  |  | 5285
Finishing walls with textured exterior paint of required shade :
New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including base
coat of water proofing cement paint applied @ 2.20kg/10 sqm.
| Description | Unit | Quantity | Rate | Amount
Detail of cost for 10 sqm
MATERIALS
| Textured exterior paint | litre | 3.28 | 200 | 656
| Water proofing cement paint | kilogram | 2.2 | 45 | 99
| Carriage of material | L.S | 1.56 | 1.78 | 2.7768
LABOUR
| Painter | Day | 0.6 | 273 | 1076
| Coolie | Day | 0.3 | 247
| Bhisti | Day | 0.05 | 260
| Brushes, sand paper etc | L.S | 7.02 | 1.49
| Sundries | L.S | 8.06 | 1.49
| TOTAL |  |  |  | 1833.7768
| Add 1 % for water charges |  |  |  | 18.3378
| TOTAL |  |  |  | 1852.1146
| Cost of 10.00 sqm |  |  |  | 1852.1146
| Cost of 1.00 sqm |  |  |  | 185.2115
| Say |  |  |  | 186
18
9.1.1. | Providing wood work in frames of doors, windows, clerestory windows and other
frames, wrought framed and fixed in position :
Ivory Coast wood
| Description | Unit | Quantity | Rate | Amount
Details of cost for Chowkhat of a door
150x70mm
Materials
Red Marandi
2x2.4x0.15x0.062 =
1x1.2x0.15x0.062=
0.0558
Add for wastage @ 5% = 0.00279cum.
Grand Total = 0.05859cum.
| Ivory Coast wood | Cum | 0.05859 | 191038 | 11192.9164
| Beading | Rmt | 6 | 60 | 360
| Melamine Polish | Rmt | 6 | 311.6 | 1869.6
Labour:
| Carpenter (avg.) | Day | 1 | 375 | 375
| Beldar | Day | 0.12 | 247 | 29.64
| TOTAL |  |  |  | 13827.1564
| Add 1 % for water charges |  |  |  | 138.2716
| TOTAL |  |  |  | 13965.428
| Cost of .063 cum. |  |  |  | 13965.428
| Cost per cum. |  |  |  | 221673.4601
| Say |  |  |  | 221674
| Total i/c Holdfast |  |  |  | 221771
9.53 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10
mm diameter bolts, nuts and wooden plugs and embedding in cement concrete
block 30x10 x 15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate
20mm nominal size)
| Description | Unit | Quantity | Rate | Amount
Details of cost for 1 hold fast
Materials-
| M.S.flat 40x5mm 40cm long @ 1.68 kg/m = | quintal | 0.0067 | 4400 | 29.48
| Carriage of steel | L.S. | 1.82 | 1.49 | 2.7118
Cement concrete 1:3:6
30xl0xl5cm= 0.0045cum.+
Add wastage @ 10% = 0.00045cum.
= 0.00495cum. Say 0.005cum.
| (Rate as per item no 4.2.5) | cum | 0.005 | 5818 | 29.09
| Bolts and nuts | L.S. | 5.46 | 1.49 | 8.1354
Labour-
| Blacksmith 2nd class | Day | 0.03 | 273 | 8.19
| Mason 1st class | Day | 0.03 | 350 | 10.5
| Beldar | Day | 0.03 | 247 | 7.41
| TOTAL |  |  |  | 95.5172
| Add for water charge @ 1% on all except (A) |  |  |  | 0.95517
| TOTAL |  |  |  | 96.4724
| Cost for 1 hold fast |  |  |  | 96.4724
| Say |  |  |  | 97
| for 6 nos Hold fast |  |  |  | 582
Providing and fixing ISI marked flush door shutters conforming to IS: 2202 (Part I)
decorative type, core of block board construction with frame of 1st class hard
wood and well matched teak 3 ply veneering with vertical grains or cross bands
and face veneers on both faces of shutters.
32 mm thick including ISI marked Stainless Steel butt hinges with necessary screws.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 2.20 sqm.
Materials-
| 32mm thick door shutters | sqm | 2.2 | 3443.2 | 7575.04
| Edge Polishing | L.S. | 29.64 | 1.78 | 52.7592
| Stainless steel butt hinges (heavy weight) | 10 Nos | 6 | 690 | 414
100x60x2.5 mm IS : 12817 marked
| Stainless steel screws 40 mm | 100 Nos | 48 | 208 | 99.84
Labour-
For fixing shutter and fittings
| Carpenter (Average) | Day | 0.55 | 417 | 229.35
| Beldar | Day | 0.55 | 329 | 180.95
| TOTAL |  |  |  | 8551.9392
| Add 1% for water charges |  |  |  | 85.5194
| TOTAL |  |  |  | 8637.4586
| Cost for 2.2 sqm. |  |  |  | 8637.4586
| Cost of 1 sqm. |  |  |  | 3926.1175
| Say |  |  |  | 3927
Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10.8x9.6m = 103.68sqm MATERIAL: Gypsum board 12.5mm thick = 103.68 sqm.+ Add wastage @ 5% = 5.18sqm. Total = 108.86 sqm
| 12.5 mm thick tapered edge gypsum plain borad | sqm | 108.86 | 165.9193 | 18061.9731
| Galvanised Steel celling section (size 80x26x0.50 mm) | metre | 238.14 | 72 | 17146.08
| Galvanised Steel perimetre Channel (Size 20x27x30x0.50 mm) | metre | 41.84 | 43 | 1799.12
| Galvanised Steel intermediate Channel (Size 15x45x15x0.90 mm) Strap hanger | metre | 90.72 | 72 | 6531.84
| Galvanised Steel angle hanger (Celling angle) (Size 25x10x0.50 mm) | metre | 10.80 | 23 | 248.4
| Galvanised Steel connecting clips (2.64 mm dia and 230 mm long GI wire) | each | 189.00 | 7 | 1323
| Galvanised steel bolts & nuts 6 mm dia and 25 mm long round head with slots | 10 nos | 216.00 | 50 | 1080
| Galvanised Steel soffit cleat (Size 27x37x25x0.60 mm) | each | 72.00 | 4 | 288
| All drive screws ( for gypsum board) | 100 nos | 1,000.00 | 56 | 560
| Joint filler | kilogram | 22.81 | 22 | 501.82
| Joint finisher | kilogram | 34.21 | 24 | 821.04
| Joint tape roll | roll | 1.27 | 130 | 165.1
| Primer ( for gypsum board) | litre | 18.66 | 50 | 933
| Dash hold fastener 12.5 mm dia, 50 mm long with 6 mm dia bolt 12 mm dia 40 mm long with 6 mm dia bolt | each | 72.00 | 48 | 3456
| Sundries like rawl plug scaffolding etc. | L.S. | 807.30 | 1.49 | 1202.877
| Carriage of material etc. LABOUR: | L.S. | 447.20 | 1.49 | 666.328
| Carpenter 2nd class | day | 31.104 |  | 27889.92
| Beldar | day | 31.104
| Painter | day | 10.368
| Cost of 103.68 Sqm |  |  |  | 82674.4981
| Add 1% for water charges |  |  |  | 826.745
| Total |  |  |  | 83501.2431
| Cost of 1 Sqm |  |  |  | 805.3746
| Say |  |  |  | 806
75
13.26 | Providing and applying plaster of paris putty of 6 mm thickness over plastered surface
to prepare the surface even and smooth complete
| Description | Unit | Quantity | Rate | Amount
Detail of cost for 10 sqm
MATERIALS
Plaster of paris 10x0.002x1121 = 22.42kg
Add 2% wastage= 0.45kg
Total = 22.87kg
Say23kg
| Plaster of Paris | kilogram | 23 | 4.5 | 103.5
| Carriage of plaster of paris | L.S | 3.9 | 1.49 | 5.811
LABOUR
| Mason special | Day | 0.91 | 435 | 1291.2
| Beldar | Day | 0.91 | 329
| Scaffolding and sundries | L.S | 83.98 | 1.78 | 149.4844
| TOTAL |  |  |  | 1549.9954
| Add 1 % for water charges |  |  |  | 15.5
| TOTAL |  |  |  | 1565.4954
| Cost of 10.00 sqm |  |  |  | 1565.4954
| Cost of 1.00 sqm |  |  |  | 156.5495
| Say |  |  |  | 157
15
2.6.1 Marble stone flooring with 20mm thick marble stone (sample of marble shall be
approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar
1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including
rubbing and polishing complete with :
Granite marble
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10 sqm.
Materials-
20mm thick marble slab = 10.00sqm.+
Add for wastage 15% = 1.50sqm.
Total = 11.50sqm.
| Granite marble 20 mm thick marble slab | sqm | 11.5 | 645.6 | 7424.4
| Base mortar 1:4(1 Cement : 4 Coarse sand) | cum | 0.224 | 3648 | 817.152
| Cement for slurry @ 4.4kg/sqm. (I) for | tonne | 0.05 | 5000 | 250
bedding = 44 kg+ (ii) for jointing = 6 Kg.
Total = 50 Kg.
| Carriage of marble slab | L.S. | 26.91 | 1.49 | 40.0959
Labour-
(for finishing, polishing and fixing)
| Mason 1st class | Day | 1.2 | 301 | 6456
| Beldar | Day | 1 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 5 | 260
Rate)
| Machine | Day | 4 | 300 | 1200
| Sundries and carriage of cement etc. | L.S. | 134.55 | 1.49 | 200.4795
| TOTAL |  |  |  | 16388.1274
| Add 1% for water charges |  |  |  | 163.8813
| TOTAL |  |  |  | 16552.0087
| Cost of 10 sqm. |  |  |  | 1655.2009
| Cost of 1 sqm. |  |  |  | 1655.2009
| Say |  |  |  | 1656
2.6.1 | Spanish Brown marble cladding with (sample of marble shall be
approved by Engineer-in-charge) over 12 mm (average) thick base of cement mortar
1:3 (1 cement : 3coarse sand) laid and jointed with grey cement slurry including
rubbing and polishing complete with :
Spanish Brown Marble fixing on wall
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10 sqm.
Materials-
20mm thick marble slab = 10.00sqm.+
Add for wastage 15% = 1.50sqm.
Total = 11.50sqm.
| Spanish Brown marble slab | sqm | 11.5 | 2474.8 | 28460.2
| Base mortar 1:3(1 Cement : 3 Coarse sand) | cum | .144 | 4308 | 620.352
| Cement for slurry @ 3.3kg/sqm. (I) for | tonne | 0.039 | 5000 | 195
bedding = 33 kg+ (ii) for jointing = 6 Kg.
Total = 39 Kg.
| Carriage of marble slab | L.S. | 26.91 | 1.49 | 40.0959
Labour-
(for finishing, polishing and fixing)
| Mason 1st class | Day | 1.2 | 301 | 8608
| Beldar | Day | 1 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 5 | 260
Rate)
| Machine | Day | 4 | 300 | 1200
| Sundries and carriage of cement etc. | L.S. | 134.55 | 1.49 | 200.4795
| TOTAL |  |  |  | 39324.1274
| Add 1% for water charges |  |  |  | 393.2413
| TOTAL |  |  |  | 39717.3687
| Cost of 10 sqm. |  |  |  | 3971.7369
| Cost of 1 sqm. |  |  |  | 3971.7369
| Say |  |  |  | 3972
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Cement mortar 1:3 (1 Cement : 3 Coarse Sand)
Details of cost of 1cum of cement mortar 1:3
Material
| Cement required is 35.7%=0.357cum of cement=0.51t | tonne | 0.51 | 5000 | 2550
| Sand | cum | 1.07 | 1271.16 | 1360.1412
Carriage
| Cement | tonne | 0.51 | 77.87 | 39.7137
| Sand | cum | 1.07 | 87.6 | 93.732
Labour
For measuring & mixing
| Beldar | each | 0.75 | 247 | 185.25
| Water man | each | 0.07 | 260 | 18.2
| Total |  |  |  | 4247.0369
| Add for hire charges and running charge of Mixer | LS | 26.91 | 1.49 | 40.0959
| Sundries | LS | 13.52 | 1.49 | 20.1448
| Cost of 1cum of cement mortar 1:3 |  |  |  | 4307.2776
| Rate per cum. |  |  |  | 4307.2776
| Say |  |  |  | 4308
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Cement mortar 1:4 (1 Cement : 4 Coarse Sand)
Details of cost of 1cum of cement mortar 1:4
Material
| Cement | tonne | 0.38 | 5000 | 1900
| Coarse Sand | cum | 1.07 | 1271.16 | 1360.1412
Carriage
| Cement | tonne | 0.38 | 77.87 | 29.5906
| Coarse Sand | cum | 1.07 | 87.6 | 93.732
| Total (A) |  |  |  | 3383.4638
Labour
For measuring & mixing
| Beldar | each | 0.75 | 247 | 185.25
| Water man | each | 0.07 | 260 | 18.2
| Total (B) |  |  |  | 203.45
| Total (A+B) |  |  |  | 3586.9138
| Add for hire charges and running charge of Mixer | LS | 26.91 | 1.49 | 40.0959
| Sundries | LS | 13.52 | 1.49 | 20.1448
| Cost of 1cum of cement mortar 1:4 |  |  |  | 3647.1545
| Rate per cum. |  |  |  | 3647.1545
| Say |  |  |  | 3648
Botochino Marble stone flooring with 18mm thick marble stone (sample of marble shall be
approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar
1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including
rubbing and Diamond polishing complete with :
Bottocino Marble
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10 sqm.
Materials-
20mm thick marble slab = 10.00sqm.+
Add for wastage 15% = 1.50sqm.
Total = 11.50sqm.
| Botochino marble 20 mm thick marble slab | sqm | 11.5 | 2474.8 | 28460.2
| Base mortar 1:4(1 Cement : 4 Coarse sand) | cum | 0.224 | 3648 | 817.152
| Cement for slurry @ 4.4kg/sqm. (I) for | tonne | 0.05 | 5000 | 250
bedding = 44 kg+ (ii) for jointing = 6 Kg.
Total = 50 Kg.
| Carriage of marble slab | L.S. | 26.91 | 1.49 | 40.0959
Labour-
(for finishing, polishing and fixing)
| Mason 1st class | Day | 1.2 |  | 8608
| Beldar | Day | 1
| Coolie | Day | 1
| Beldar for rubbing and polishing (Special | Day | 5
Rate)
| Machine | Day | 4 | 300 | 1200
| Sundries and carriage of cement etc. | L.S. | 134.55 | 1.49 | 200.4795
| TOTAL |  |  |  | 39575.9274
| Add 1% for water charges |  |  |  | 395.7593
| TOTAL |  |  |  | 39971.6867
| Cost of 10 sqm. |  |  |  | 39971.6867
| Cost of 1 sqm. |  |  |  | 3997.1687
| Say |  |  |  | 3998
Kota stone slab flooring over 20 mm (average) thick base laid over and jointed
with grey cement slurry mixed with pigment to match the shade of the slab including
rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement: 4
coarse sand):
20 mm thick.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10sqm.
Materials-
| 20 mm thick Kota stone slabs polished | sqm | 11.5 | 322.8 | 3712.2
including 15% wastage
| Carriage of slabs | tonne | 0.67 | 77.87 | 52.1729
| Cement mortar 1:4 | cum | 0.224 | 3648 | 817.152
| Cement for slurry-(i) for bedding = 44kg+ (ii) | tonne | 0.064 | 5000 | 320
for joints = 20 kg. Total = 64 kg. or 0.064
tonne
| Carriage of cement | tonne | 0.064 | 77.87 | 4.9837
| Dark shade pigment | kilogram | 4.5 | 55 | 247.5
Labour-
| Mason 2nd class | Day | 1.2 | 273 | 3766
| Beldar | Day | 1 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 5 | 260
Rate)
| Machine | Day | 4 | 300 | 0
| Sundries | L.S. | 208.13 | 1.49 | 310.1137
| TOTAL |  |  |  | 9230.1223
| Add 1% for water charges |  |  |  | 92.3012
| TOTAL |  |  |  | 9322.4235
| Cost for 10sqm. |  |  |  | 932.2424
| Cost for 1 sqm. |  |  |  | 932.2424
| Say |  |  |  | 933
Kota stone slabs 25 mm thick in risers of steps, skirting, dado and pillars laid on 12
mm (average) thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with
grey cement slurry mixed with pigment to match the shade of the slabs, including
rubbing and polishing complete.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 100 rmt
Materials-
| 25mm thick Kota stone slabs polished | sqm | 11.5 | 322.8 | 3712.2
including 15% wastage
| Carriage of slabs | tonne | 0.67 | 77.87 | 52.1729
| Cement mortar 1:3 (1 Cement: 3 Coarse sand) | cum | 0.144 | 4308 | 620.352
| Cement for slurry | tonne | 0.064 | 5000 | 320
| Carriage of cement | tonne | 0.064 | 77.87 | 4.9837
| Pigment dark shade | kilogram | 4.5 | 55 | 247.5
Labour-
| Mason 2nd class | Day | 3 | 273 | 7072
| Beldar | Day | 3 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 7 | 260
Rate)
| Sundries | L.S. | 174.98 | 1.49 | 260.7202
| TOTAL |  |  |  | 12289.9288
| Add 1% for water charges |  |  |  | 122.8993
| TOTAL |  |  |  | 12412.8281
| Cost for 100 Rmt |  |  |  | 12412.8281
| Cost for 1Rmt |  |  |  | 124.1283
| Say |  |  |  | 125
Granite stone flooring with 20mm thick marble stone (sample of marble shall be
approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar
1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including
rubbing and polishing complete with :
Granite marble
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10 sqm.
Materials-
20mm thick marble slab = 10.00sqm.+
Add for wastage 15% = 1.50sqm.
Total = 11.50sqm.
| Granite marble 20 mm thick marble slab | sqm | 11.5 | 1129.8 | 12992.7
| Base mortar 1:4(1 Cement : 4 Coarse sand) | cum | 0.224 | 3648 | 817.152
| Cement for slurry @ 4.4kg/sqm. (I) for | tonne | 0.05 | 5000 | 250
bedding = 44 kg+ (ii) for jointing = 6 Kg.
Total = 50 Kg.
| Carriage of marble slab | L.S. | 26.91 | 1.49 | 40.0959
Labour-
(for finishing, polishing and fixing)
| Mason 1st class | Day | 1.2 | 301 | 3766
| Beldar | Day | 1 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 5 | 260
Rate)
| Machine | Day | 4 | 300 | 1200
| Sundries and carriage of cement etc. | L.S. | 134.55 | 1.49 | 200.4795
| TOTAL |  |  |  | 19266.4274
| Add 1% for water charges |  |  |  | 192.6643
| TOTAL |  |  |  | 19459.0917
| Cost of 10 sqm. |  |  |  | 1945.9092
| Cost of 1 sqm. |  |  |  | 1945.9092
| Say |  |  |  | 1946
181
Italian Marble Skirting laid on 12 mm (average) thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 100 rmt
Materials-
| 25mm thick Kota stone slabs polished | sqm | 11.5 | 2474.8 | 28460.2
including 15% wastage
| Carriage of slabs | tonne | 0.67 | 77.87 | 52.1729
| Cement mortar 1:3 (1 Cement: 3 Coarse sand) | cum | 0.144 | 200.4795 | 28.869
| Cement for slurry | tonne | 0.064 | 0 | 0
| Carriage of cement | tonne | 0.064 | 77.87 | 4.9837
| Pigment dark shade | kilogram | 4.5 | 55 | 247.5
Labour-
| Mason 2nd class | Day | 3 | 273 | 6560
| Beldar | Day | 3 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 7 | 260
Rate)
| Sundries | L.S. | 174.98 | 1.49 | 260.7202
| TOTAL |  |  |  | 35614.4458
| Add 1% for water charges |  |  |  | 356.1445
| TOTAL |  |  |  | 35970.5903
| Cost for 100 Rmt |  |  |  | 35970.5903
| Cost for 1Rmt |  |  |  | 359.7059
| Say |  |  |  | 360
Granite in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 100 rmt
Materials-
| 25mm thick Granite stone slabs polished | sqm | 11.5 | 1129.8 | 12992.7
including 15% wastage
| Carriage of slabs | tonne | 0.67 | 77.87 | 52.1729
| Cement mortar 1:3 (1 Cement: 3 Coarse sand) | cum | 0.144 | 4308 | 620.352
| Cement for slurry | tonne | 0.064 | 5000 | 320
| Carriage of cement | tonne | 0.064 | 77.87 | 4.9837
| Pigment dark shade | kilogram | 4.5 | 55 | 247.5
Labour-
| Mason 2nd class | Day | 3 | 273 | 6560
| Beldar | Day | 3 | 247
| Coolie | Day | 1 | 247
| Beldar for rubbing and polishing (Special | Day | 7 | 260
Rate)
| Sundries | L.S. | 174.98 | 1.49 | 260.7202
| TOTAL |  |  |  | 21058.4288
| Add 1% for water charges |  |  |  | 210.5843
| TOTAL |  |  |  | 21269.0131
| Cost for 100 Rmt |  |  |  | 21269.0131
| Cost for 1Rmt |  |  |  | 212.6901
| Say |  |  |  | 213
Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and
prepolished) machine cut for kitchen platforms, vanity counters ,window sills , facias
and similar locations of required size of approved shade, colour and texture laid
over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints
treated with white cement, mixed with matching pigment, epoxy touch ups, including
rubbing, curing moulding and polishing to edge to give high gloss finish etc. complete
at all levels.
Granite of any colour and shade
| Description | Unit | Quantity | Rate | Amount
Details of cost for 0.50 sqm.
Mirror polished granite= 0.50 sqm.+Wastage
5% 0.025 sqm.= 0.525 sqm
| Granite 18 mm thick slab, upto 0.50 sqm | sqm | 0.525 | 1129.8 | 593.145
awise)
| Cement mortar 1:4 (1 cement: 4 coarse | cum | 0.012 | 3648 | 43.776
sand).
Labour:
| Mason 1st class | Day | 0.7 | 301 | 322.8
| Beldar | Day | 0.325 | 247
| Coolie | Day | 0.325 | 247
| Moulding and edge polishing | L.S. | 39 | 1.49 | 58.11
| Sundries epoxy resin & cutting machine etc. | L.S. | 16.25 | 1.49 | 24.2125
| Total |  |  |  | 1042.0435
| Add Water Charges @1% |  |  |  | 10.4204
| Total for 0.5 Sqm |  |  |  | 1052.4639
| Total |  |  |  | 2104.9279
| Total For 1.0 Sqm |  |  |  | 2105
| Say |  |  |  | 2105
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
DSR - 11.37 | Providing and laying Vetrified floor tiles 600x600mm (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 20mm thick cement mortar 1:4 (1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
Size of Tile 30x30 cm
Details of cost for 1 sqm
Material
Vetrified = 1.000 sqm
Add for wastage & breakage @ 2.5 % = 0.025
| Total = 1.025 sqm | Sqm | 1.025 | 451.92 | 463.218
| 20 mm thick cement mortar 1:4(1 cement: 4 coarse sand) | Cum | 0.024 | 3648 | 87.552
| Cement for slurry over bed @ 3.3 kg per sqm | tonne | 0.0033 | 5000 | 16.5
Carriage
| Vitrified tiles | LS | 6.24 | 1.49 | 9.2976
| Total (A) |  |  |  | 576.5676
Labour
| Mason | Shift | 0.2 | 301 | 215.2
| Coolie | Shift | 0.2 | 247
Total (B)
| Total (A+B) |  |  |  | 791.7676
| Add for mortar for pointing, cost of pigment, white cement pumps for water lifts etc. charges @3.3 Kg/Cum | LS | 20.2 | 1.49 | 30.098
821.8656
| Sundries including carriage of cement | LS | 26.91 | 1.49 | 40.0959
| Total |  |  |  | 861.9615
| Add water charges @1% |  |  |  | 8.6196
| Total |  |  |  | 870.5811
| Say |  |  |  | 871
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
DSR - 11.37 | Providing and laying Vetrified floor tiles 1200x600mm (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 20mm thick cement mortar 1:4 (1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
Size of Tile 1200 x 600 mm
Details of cost for 1 sqm
Material
Vetrified = 1.000 sqm
Add for wastage & breakage @ 2.5 % = 0.025
| Total = 1.025 sqm | Sqm | 1.025 | 645.6 | 661.74
| 20 mm thick cement mortar 1:4(1 cement: 4 coarse sand) | Cum | 0.024 | 3648 | 87.552
| Cement for slurry over bed @ 3.3 kg per sqm | tonne | 0.0033 | 5000 | 16.5
Carriage
| Vitrified tiles | LS | 6.24 | 1.49 | 9.2976
| Total (A) |  |  |  | 775.0896
Labour
| Mason | Shift | 0.2 | 301 | 215.2
| Coolie | Shift | 0.2 | 247
Total (B)
| Total (A+B) |  |  |  | 990.2896
| Add for mortar for pointing, cost of pigment, white cement pumps for water lifts etc. charges @3.3 Kg/Cum | LS | 20.2 | 1.49 | 30.098
1020.3876
| Sundries including carriage of cement | LS | 26.91 | 1.49 | 40.0959
| Total |  |  |  | 1060.4835
| Add water charges @1% |  |  |  | 10.6048
| Total |  |  |  | 1071.0883
| Say |  |  |  | 1072
100
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
DSR - 11.37 | Providing and laying tile skirting(thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 12 mm thick cement mortar 1:3(1 cement: 3 coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
100mm skirting
Details of cost for 10 rmt
Material
Vetrified = 1.000 sqm
Add for wastage & breakage @ 2.5 % = 0.025
| Total = 1.025 sqm | Sqm | 1.025 | 451.92 | 463.218
| 20 mm thick cement mortar 1:3(1 cement: 3 coarse sand) | Cum | 0.024 | 4308 | 103.392
| Cement for slurry over bed @ 3.3 kg per sqm | tonne | 0.0033 | 5000 | 16.5
Carriage
| Glazed ceramic tiles | LS | 6.24 | 1.49 | 9.2976
| Total (A) |  |  |  | 592.4076
Labour
| Mason | Shift | 0.2 | 301 | 459.2
| Coolie | Shift | 0.2 | 247
Total (B)
| Total (A+B) |  |  |  | 1051.6076
| Add for mortar for pointing, cost of pigment, white cement pumps for water lifts etc. charges @3.3 Kg/Cum | LS | 20.2 | 1.49 | 30.098
1081.7056
| Sundries including carriage of cement | LS | 26.91 | 1.49 | 40.0959
| Total |  |  |  | 1121.8015
| Add water charges @1% |  |  |  | 11.218
| Total |  |  |  | 1133.0195
| Cost for 1Rmt |  |  |  | 113.302
| Say |  |  |  | 114
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Providing and laying ceramic glazed floor tiles 300x300mm (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 20mm thick cement mortar 1:4(1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
Size of Tile 30x30 cm
Details of cost for 1 sqm
Material
Glazed Ceramic floor tiles 30x30 cm size = 1.000 sqm
Add for wastage & breakage @ 2.5 % = 0.025
| Total = 1.025 sqm | Sqm | 1.025 | 430.4 | 441.16
| 20 mm thick cement mortar 1:4(1 cement: 4 coarse sand) | Cum | 0.024 | 3648 | 87.552
| Cement for slurry over bed @ 3.3 kg per sqm | tonne | 0.0033 | 5000 | 16.5
Carriage
| Glazed ceramic tiles | LS | 6.24 | 1.49 | 9.2976
| Total (A) |  |  |  | 554.5096
Labour
| Mason | Shift | 0.2 | 301 | 193.68
| Coolie | Shift | 0.2 | 247
Total (B)
| Total (A+B) |  |  |  | 748.1896
| Add for mortar for pointing, cost of pigment, white cement pumps for water lifts etc. charges @3.3 Kg/Cum | LS | 20.2 | 1.49 | 30.098
| Sundries including carriage of cement | LS | 26.91 | 1.49 | 40.0959
| Total |  |  |  | 818.3835
| Add water charges @1% |  |  |  | 8.1838
| Total |  |  |  | 826.5673
| Say |  |  |  | 827
77
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Providing and laying ceramic glazed wall tiles (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 15622 of approved make in colours such as white, ivory, gray,fume red, brown laid on 12mm thick cement mortar 1:3(1 cement: 3 coarse sand) including pointing the joints with white cement and matching pigments etc., complete.
Details of cost for 1 Sqm
Material
Add for wastage & breakage @ 2.5 % = 0.025
| Total = 1.025 sqm | Sqm | 1.025 | 430.4 | 441.16
| 12 mm thick cement mortar 1:3(1 cement: 3 coarse sand) | Cum | 0.014 | 4308 | 60.312
| Cement for slurry over bed @ 3.3 kg per sqm | tonne | 0.0033 | 5000 | 16.5
Carriage
| Glazed ceramic tiles | LS | 6.24 | 1.49 | 9.2976
| Cement | tonne | 0.0033 | 77.87 | 0.25697
| Total (A) |  |  |  | 527.5266
Labour
| Mason | Shift | 0.25 | 301 | 247.48
| Coolie | Shift | 0.25 | 247
Total (B)
| Total (A+B) |  |  |  | 775.0066
| Add for mortar for pointing, cost of pigment, white cement pumps for water lifts etc. charges @3.3 Kg/Cum | LS | 40.43 | 1.49 | 60.2407
| Sundries including carriage of cement | LS | 26.91 | 1.49 | 40.0959
| Total |  |  |  | 875.3432
| Add water charges @1% |  |  |  | 8.7534
| Total |  |  |  | 884.0966
| Say |  |  |  | 885
83
10.25.2 | Steel work welded in built up section / framed work including cutting, hoisting, fixing
in position and applying a priming coat of approved steel primer usin’g structural
steel etc. as required. 10.25.2 In grating, frames, guard bar, ladder, railings, brackets,
gates and similar works.
| Description | Unit | Quantity | Rate | Amount
Details of Imxlm framed guard bar grating.
(i) M.S. flat 50x6 mm 2.4kg/per metre
5.75x2.40 = 13.8kg. + Add wastage@ 5%
| = 0.69kg., Total = 14.49kg. say 14.5 kg. | quintal | 0.145 | 4400 | 638
M.S. Flat (ii) 12mm dia. Bars @ 0.89 kg/m
9x1 = 9 metre @ 0.89kg/m = 8.01 kg+Add
wastage @ 5% = 0.40kg. Total=8.41 kg.
say 0.084q
| M.S. bar | quintal | 0.084 | 4400 | 369.6
| Carriage of steel | tonne | 0.0229 | 47.29 | 1.0829
| Welding charges (electric) 60cm | Cm | 60 | 1 | 60
Labour
| Blacksmith 1st class | Day | 0.7 | 151.5 | 507.5
| Beldar | Day | 0.5 | 135.25
| Bandhani | Day | 0.25 | 138.45
Applying priming coat 0.65 sqm
| (Rate as per item no. 13.50.3 | Sqm | 0.6 | 12.65 | 7.59
| Sundries | L.S. | 4.55 | 1 | 4.55
| TOTAL |  |  |  | 1588.3229
| Add 1% for water charges |  |  |  | 15.8832
| TOTAL |  |  |  | 1604.2062
| Cost for 14.5 kg |  |  |  | 1604.2062
| Cost for 1 kg |  |  |  | 110.6349
| Say |  |  |  | 111
| Weight considered for 1 Sqm | Kg |  |  | 15
| Total Amount for 1 Rmt |  |  |  | 1665
508
10.25.2 | Steel work welded in built up section / framed work including cutting, hoisting, fixing
in position and applying a priming coat of approved steel primer usin’g structural
steel etc. as required. 10.25.2 In grating, frames, guard bar, ladder, railings, brackets,
gates and similar works.
| Description | Unit | Quantity | Rate | Amount
Details of Imxlm framed guard bar grating.
(i) M.S. flat 50x6 mm 2.4kg/per metre
5.75x2.40 = 13.8kg. + Add wastage@ 5%
| = 0.69kg., Total = 14.49kg. say 14.5 kg. | quintal | 0.145 | 4400 | 638
M.S. Flat (ii) 12mm dia. Bars @ 0.89 kg/m
9x1 = 9 metre @ 0.89kg/m = 8.01 kg+Add
wastage @ 5% = 0.40kg. Total=8.41 kg.
say 0.084q
| M.S. bar | quintal | 0.084 | 4400 | 369.6
| Carriage of steel | tonne | 0.0229 | 47.29 | 1.0829
| Welding charges (electric) 60cm | Cm | 60 | 1 | 60
Labour
| Blacksmith 1st class | Day | 0.7 | 151.5 | 507.5
| Beldar | Day | 0.5 | 135.25
| Bandhani | Day | 0.25 | 138.45
Applying priming coat 0.65 sqm
| (Rate as per item no. 13.50.3 | Sqm | 0.6 | 12.65 | 7.59
| Sundries | L.S. | 4.55 | 1 | 4.55
| TOTAL |  |  |  | 1588.3229
| Add 1% for water charges |  |  |  | 15.8832
| TOTAL |  |  |  | 1604.2062
| Cost for 14.5 kg |  |  |  | 1604.2062
| Cost for 1 kg |  |  |  | 110.6349
| Say |  |  |  | 111
| Weight considered for 1 Sqm | Kg |  |  | 15
| Total Amount for 1 Sqm |  |  |  | 1665
278.9924
86
Wall painting with plastic emulsion paint of approved brand and manufacture to
give an even shade
Two or more coats on new work-
Code | Description | Unit | Quantity | Rate | Amount
Detail of cost for 10 sqm
MATERIALS
| Plastic emulsion paint | litre | 0.73 | 400 | 292
| Materials for filling in holes and cracks (putty | L.S | 0.52 | 1.49 | 0.7748
etc)
| Carriage of material | L.S | 5.33 | 1.49 | 7.9417
LABOUR
| Painter | Day | 0.36 | 273 | 1614
| Coolie | Day | 0.36 | 247
| Brushes, sand paper etc | L.S | 8.06 | 1.49
| Sundries | L.S | 6.76 | 1.49
| TOTAL |  |  |  | 1914.7165
| Add 1% for water charges |  |  |  | 19.1472
| TOTAL |  |  |  | 1933.8637
| Cost of 10.00 sqm |  |  |  | 1933.8637
| Cost of 1.00 sqm |  |  |  | 193.3864
| Say |  |  |  | 194
19
3.3 | Distempering with oil bound washable distemper of approved brand and
manufacture to give an even shade
New work (two or more coats) over and including priming coat with cement primer:-
| Description | Unit | Quantity | Rate | Amount
Detail of cost for 10 sqm
MATERIALS
| Cement primer | litre | 0.7 | 100 | 70
| Brushes, putty etc | L.S. | 7.15 | 1.78 | 12.727
| Sundries including Carriage | L.S. | 8.06 | 1.78 | 14.3468
| Dry distemper | kilogram | 1.5 | 65 | 97.5
| Carriage of material | L.S. | 4.42 | 1.78 | 7.8676
| Brushes, sand paper and putty for filling holes | L.S. | 11.7 | 1.78 | 20.826
LABOUR
| Painter | Day | 1 | 273 | 968.4
| Coolie | Day | 0.5 | 247
| Sundries | L.S. | 8.06 | 1.49
| TOTAL |  |  |  | 1191.6674
| Add 1 % for water charges |  |  |  | 11.9167
| TOTAL |  |  |  | 1203.5841
| Cost of 10.00 sqm |  |  |  | 1203.5841
| Cost of 1.00 sqm |  |  |  | 120.3584
| Say |  |  |  | 121
22.7 Providing and laying integral cement based water proofing treatment including
preparation of surface as required for treatment of roofs, balconies, terraces etc
consisting of following operations:
(a) | Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed
with water proofing compound conforming to IS. 2645 and approved by
Engineer-in-charge over the RCC slab including adjoining walls upto 300mm
height including cleaning the surface before treatment.
(b) | Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115mm size
with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water
proofing compound conforming to IS : 2645 and approved by Engineer-in-charge
over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand )
admixed with water proofing compound conforming to IS : 2645 and approved
by Engineer-in-charge to required slope and treating similarly the adjoining walls
upto 300 mm height including rounding of junctions of walls and slabs
(c) | After two days of proper curing applying a second coat of cement slurry using
2.75kg/ sqm of cement admixed with water proofing compound conforming to
IS : 2645 and approved by Engineer-in-charge.
(d) | Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1
cement :4 coarse sand) admixed with water proofing compound conforming to
IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth
of approved quality in top layer of plaster and finally finishing the surface with
trowel with neat cement slurry and making pattern of 300x300 mm square 3mm
deep.
(e) | The whole terrace so finished shall be flooded with water for a minimum period
of two weeks for curing and for final test. All above operations to be done in
order and as directed and specified by the Engineer-in-Charge :
22.7.1 With average thickness of 120mm and minimum thickness at khurra as 65 mm.
Code | Description | Unit | Quantity | Rate | Amount
Detail of cost for 10 sqm
i) Cement slurry
| Cement | tonne | 0.0275 | 5000 | 137.5
| ii) Cement mortar 1:5 (1 cement: 5 coarse | cum | 0.224 | 3292 | 737.408
sand)
iii) Roof treatment with brick bats and cement
mortar
Materials:
| Brick bats/ brick aggregate | cum | 0.94 | 550 | 517
| Carriage | cum | 0 | 95.22 | 0
| Cement mortar 1:5 | cum | 0.5 | 3292 | 1646
Labour
| Beldar | Day | 1.75 | 247 | 432.25
| Bhishti | Day | 0.28 | 260 | 72.8
| Mason 1 st class | Day | 0.05 | 350 | 17.5
| Mason 2nd class | Day | 0.05 | 300 | 15
| Mate | Day | 0.04 | 260 | 10.4
Extra labour for ramming
| Beldar | Day | 0.25 | 247 | 61.75
| Sundries | L.S | 13.65 | 1.49 | 20.3385
iv) Cement slury
| Cement | tonne | 0.0275 | 5000 | 137.5
| Beldar | Day | 0.2 | 247 | 49.4
v) 20 mm cement plaster 1:4(1 cement: 4
coarse sand)
| (Rate as per item no 13.6.1 of SH : | sqm | 10 | 128 | 1280
Finishing)
vi) Water proofing compound
| 27.50+27.50+69.40+124.00 = 248.40 kg @ | kilogram | 5 | 50 | 250
1 kg per bag of cement
Extra for making chequers for 10 sqm
| Fibre glass tissue reinforcement Type IIGrade I | sqm | 10.5 | 120 | 1260
|  |  |  | Total Material | 5985.7465
| Mason 2nd class | Day | 0.36 | 300 | 108
| Beldar | Day | 0.36 | 247 | 88.92
| Chequer plate | L.S. | 13.65 | 1.49 | 20.3385
Add labour for laying 20 mm bed mortar
| Mason 2nd class | Day | 0.54 | 300 | 162
| Beldar | Day | 0.54 | 247 | 133.38
| Bhishti | Day | 0.45 | 260 | 62.3
|  |  |  | Total Labour | 1234.0385
| TOTAL |  |  |  | 7219.785
| Add for water charges @ 1% on all except ‘A’ |  |  |  | 72.1978
| TOTAL |  |  |  | 7291.9828
| Cost for 10 sqm |  |  |  | 7291.9828
| Cost for one sqm |  |  |  | 729.1983
| Say |  |  |  | 730
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Cement mortar 1:5
Details of cost of 1cum of cement mortar 1:5
Material
| Cement | tonne | 0.31 | 5000 | 1550
| Coarse Sand | cum | 1.07 | 1271.16 | 1360.1412
Carriage
| Cement | tonne | 0.31 | 77.87 | 24.1397
| Coarse Sand | cum | 1.07 | 87.6 | 93.732
| Total (A) |  |  |  | 3028.0129
Labour
For measuring & mixing
| Beldar | each | 0.75 | 247 | 185.25
| Water man | each | 0.07 | 260 | 18.2
| Total (B) |  |  |  | 203.45
| Total (A+B) |  |  |  | 3231.4629
| Add for hire charges and running charge of Mixer | LS | 26.91 | 1.49 | 40.0959
| Sundries | LS | 13.52 | 1.49 | 20.1448
| Cost of 1cum of cement mortar 1:4 |  |  |  | 3291.7036
| Rate per cum. |  |  |  | 3291.7036
| Say |  |  |  | 3292
Door Shutter accessories
For 32 mm thick
| Accessories |  | Material | Labour | Total
| Mortice Lock |  | 800 | 80 | 880
| Tower Bolt |  | 200 | 50 | 250
| Door Stopper |  | 70 | 15 | 85
| Buffer |  | 30 | 15 | 45
| Per number of door accessories |  |  |  | 1260
Main door | Magic Eye |  | 180 | 80 | 260
| Handle, 1 nos |  | 350 | 80 | 430
Providing and fixing wood panelling with shera slats 150mm wide, intalled on 1"x1" al frame, along with primer coats and final finish with protective p.u. coating.
| Description | Unit | Quantity | Rate | Amount
Detail of cost for 9 x 0.9 = 8.10 sqm
Including wastage @ 5% = 8.505 Sqm
MATERIALS
| Shera Cement Fibre Slat | Sqm | 8.505 | 968.76 | 8239.3038
| Aluminium Frame 1"x 1" x 3mm= 0.39 Kg x 66.6 = 25.974 Kg | Kg | 25.974 | 200 | 5194.8
| Fasteners | LS | 40 | 25 | 1000
| Primer Coat | Sqm | 8.505 | 70 | 595.35
LABOUR
| Carpentor | Day | 1 |  | 525
| Helper | Day | 0.5
| TOTAL |  |  |  | 15554.4538
| Add 1 % for water charges |  |  |  | 155.5445
| TOTAL |  |  |  | 15709.9983
| Cost of 2.1 sqm |  |  |  | 15709.9983
| Cost of 1 sqm |  |  |  | 1939.506
| Say |  |  |  | 1940
181
9.27 | Providing and fixing 35mm thick wire guage shutters using galvanised M.S. wire
gauze of average width of aperture 1.4mm with wire of dia. 0.63 mm for doors,
windows and clerestory windows including ISI marked bright finished or/and
black enamelled M.S. butt hinges with necessary screws:
9.27.1 Second class Ivory coast.
| Description | Unit | Quantity | Rate | Amount
Details of cost for door shutters
2.00x1.08m = 2.16 sqm.
Materials-
Ivory coast (2nd class)
Styles 4x200x9.5x3.5cm = 0.0266cum+
Top Rail - 1x110.5x9.5x3.5cm = 0.0036cum+
Lock and bottom rail
2x110.5x 19.7x3.5cm = 0.0152 cum.+
Beadings - (2x312+2x150)x(1.2)x(1.2)cm =
0.001 cum.
Total = 0.0464 cum.+
Add for wastage @ 10% = 0.005 cum.
= 0.0514 cum.
Say 51.4 cudm.
| Description | Unit | Quantity | Rate | Amount
| Ivory coast (2nd class) | cum | 0.0514 | 191038 | 9819.3532
Wire gauge 2x160x40cm = 1.28 sqm.+
Add wastage @ 10% = 0.13 sqm.
Total= 1.41 sqm.
| Wire gauge | sqm | 1.41 | 260 | 366.6
| M.S. butt hinges 100x58x1.90 mm | 10 Nos | 6 | 90 | 54
| M.S. butt hinges 50x37x1.50 mm | 10 Nos | 2 | 55 | 11
| M.S. screws 40 mm | 100 Nos | 48 | 52 | 24.96
| M.S. screws 20 mm | 100 Nos | 8 | 32 | 2.56
| Tower Bolt | Nos | 2 | 70 | 140
| Handle | Nos | 1 | 150 | 150
| Carriage of timber | cum | 0.0514 | 121.7 | 6.2554
Melamine Polishing
Labour-
| Carpenter 1st class | Day | 1.3 | 435 | 565.5
| Carpenter 2nd class | Day | 0.9 | 399 | 359.1
| Beldar | Day | 1.05 | 329 | 345.45
| Mistry | Day | 0.105 | 435 | 45.675
| Sundries | L.S. | 33.8 | 1.78 | 60.164
| TOTAL |  |  |  | 11950.6176
| Add 1 % for water charges |  |  |  | 119.5062
| TOTAL |  |  |  | 12070.1238
| Cost of 2.16 sqm. |  |  |  | 12070.1238
| Cost of 1 sqm. |  |  |  | 5588.0203
| Say |  |  |  | 5589
Providing and fixing window shutters with 1.5"x 3" wood section (ivory coast), with glass beading, and glass 5mm th. hardware includes, tower bolts, 8", 12" for top and bottom, window stays, 8" handle for window shutters.
| Description | Unit | Quantity | Rate | Amount
Detail of cost for 1.61sqm (750 x 2150)
MATERIALS
| Outer frame Size - 37.5x 75mm |  |  |  |  | 1.3325
Length = 2.15+2.15+.75+.75 = 5.8 m
Ivory coast Qty = 5.8 x 0.0375 x 0.075 = 0.01631 Cum
| Ivory coast | Sqm | 1.61 | 6456 | 10394.16
| Beading | Rmt | 5.4 | 60 | 324
| 5.5 mm thick float glass (2.05x0.65 = 1.33 Sqm ) | Sqm | 1.33 | 520 | 691.6
| Hinges | Nos | 4 | 70 | 280
| Tower Bolt | Nos | 2 | 170 | 340 |  |  |  |  | 0.25 | 6 | 1.5
| Handle | Nos | 1 | 150 | 150 |  |  | 125 |  |  |  | 968.4
| Window stay | Nos | 1 | 200 | 200 |  |  | 62.5 |  |  |  | 1452.6
| LABOUR | [6 empty] | 250
| Shutter fixing |  |  |  | 805 |  | 5.8
| Painting and Polishing | LS | 5.8 | 373.92 | 2168.736 |  | 215.2 | #REF! | 75
| TOTAL |  |  |  | 15353.496 |  | 1248.16 |  | #REF!
| Add 1 % for water charges |  |  |  | 153.535
| TOTAL |  |  |  | 15507.031
| Cost of 1.61 sqm |  |  |  | 15507.031
| Cost of 1 sqm |  |  |  | 9631.6962
| Say |  |  |  | 9632
Providing and fixing 5.5 mm thick float glass including 62x19 mm beading of second class Ivory coast.
| Description | Unit | Quantity | Rate | Amount
Details of cost for a window of size
140x110cm =1.54sqm.
Materials-
| 5.5 mm thick float glass | sqm | 1.69 | 520 | 878.8
| Carriage | L.S. | 1.82 | 1.78 | 3.2396
Second class Ivory coast beading
5mx62mmx19mm = 0.00059cum.+
Add wastage @ 10% = 0.00059cum.
= 0.000649cum. Say 6 cudm.
| Second class Ivory coast | cum | 0.006 | 191038 | 1146.228
| Carriage of timber | cum | 0.006 | 60.81 | 0.36486
Labour-
| Carpenter 2nd class | Day | 0.33 | 141.6 | 500
| Beldar | Day | 0.25 | 135.25
| Sundries | L.S. | 19.76 | 1 | 19.76
| TOTAL |  |  |  | 2548.3925
| Add 1 % for water charges |  |  |  | 25.4839
| TOTAL |  |  |  | 2573.8764
| Cost of 1.61 sqm |  |  |  | 2573.8764
| Cost of 1 sqm |  |  |  | 1598.681
| Say |  |  |  | 1599
Providing and fixing MS door frame with M.S. shutter,aldrop, hinges etc.
| Description | Unit | Quantity | Rate | Amount
Details of cost for a window of size, 900 x 2400
0.9 x 2.4 = 2.16 sqm.
Materials-
Door Frame
| Angle 45 x 45 x 5 mm |  |  |  |  | 5.7
| length = 2.4+2.4+0.90 =5.70 m |  |  |  |  | 19.38
Weight = 5.7 x 3.4 Kg= 19.38 Kg
MS Shutter
| Flat - 25mm x 5mm |  |  |  |  | 11.7
| Length = 2.4+0.9+2.4+0.9+2.55+2.55 = 11.7 m |  |  |  |  | 11.466
Weight = 11.70 x 0.98kg = 11.47 Kg
MS Sheet -
| Sheet - 2.5 mm thick |  |  |  |  | 42.336
Area - 0.9 x 2.4 = 2.16 sqm.
Weight = 2.16 x 19.6 kg = 42.34Kg
| Total Weight = 19.38 +11.47+42.34 = 73.19 Kg |  |  |  |  | 73.19
| Wastage @ 3% = 2.19 Kg |  |  |  |  | 2.1957
Total = 75.38 Kg
| MS Steel | Kg | 75.38 | 44 | 3316.72
| Hinges, Handle etc accessories | L.S. | 300 | 1 | 300
Labour-
| Fabrication work |  |  |  | 3015.2
Beldar
| Sundries | L.S. | 19.76 | 1 | 19.76
| TOTAL |  |  |  | 6651.68
| Add 1 % for water charges |  |  |  | 66.5168
| TOTAL |  |  |  | 6718.1968
| Cost of Single door |  |  |  | 6718.1968
| Say |  |  |  | 6719
22.5 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom
etc., by applying cement slurry mixed with water proofing cement compound
consisting of applying :
(a) | First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement
compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours
(b) | Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing
cement compound @ 0.126 kg/sqm.
This layer will be allowed to air cure for 4 hours followed with water curing for 48
hours.
The rate includes preparation of surface, treatment and sealing of all joints,
corners, junctions of pipes and masonry with polymer mixed slurry.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10 sqm
MATERIAL
Cement 10x(0.488 + 0.242) = 7.30 kg
Sealing fillets10 x 0.5 kg =5.00kg
| Total = 12.30 kg = 0.012 tonne | tonne | 0.012 | 5000 | 60
| Carriage of Cement | tonne | 0.012 | 94.65 | 1.1358
Bonding material 1.6 kgx30x2 = 96 kg
Bitumen (blown/residual type)
10x(0.25+0.126) = 3.79kg
Sealing fillets 10x0.10 kg / sqm = 1.00 kg
Wastage @ 5% on 4.79 kg = 0.24 kg
| Total = 5.03 kg Say 5.00 kg | kilogram | 5 | 150 | 750
LABOUR
| Mason (average) | Day | 2 | 417 | 2152.8 |  |  | 161
| Beldar | Day | 2 | 329 |  |  |  | 14.9628
| Bhisti | Day | 0.25 | 363
| Sundries, brushes etc | L.S | 15.6 | 1.78
| TOTAL |  |  |  | 2963.9358
| Add 1 % for water charges |  |  |  | 29.6394
| TOTAL |  |  |  | 2993.5752
| Cost of 10 sqm |  |  |  | 2993.5752
| Cost of 1 sqm |  |  |  | 299.3575
| Say |  |  |  | 300
Glass partitions in (10mm toughned glass with SS fittings of 304 grade of Shivalik make)
| Discription | Unit | Quantity | Rate | Amount
Details of cost for = 0.85 m x 2m = 1.70 Sqm
Materials-
| C Channel = 0.85m @ 2.21 Kg/m = 1.88 Kg | kilogram | 1.88 | 55 | 103.4
| Connectors | Nos | 5 | 125 | 625
| Toughened Glass 10mm thick | Sqm | 1.7 | 2152 | 3658.4
Labour for cutting assembling, finishing & erection
| Labour Rate MS | KG |  |  | 75.2
| Labour Rate Glasswork | Sqm |  |  | 170
| TOTAL |  |  |  | 4632
| Add for water charges @ 1% on all except |  |  |  | 46.32
| TOTAL |  |  |  | 4678.32
| Cost for 1.7 sqm |  |  |  | 4678.32
| Cost per 1 Sqm |  |  |  | 2751.9529
| Say |  |  |  | 2752
Providing and fixing 5 mm thick float glass including beading of second class Ivory coast.
| Description | Unit | Quantity | Rate | Amount
Details of cost for a window of size
140x110cm =1.54sqm.
Materials-
| 5 mm thick float glass | sqm | 1.69 | 753.2 | 1272.908
| Carriage | L.S. | 1.82 | 1.78 | 3.2396
Second class Ivory coast beading
5mx62mmx19mm = 0.00059cum.+
Add wastage @ 10% = 0.00059cum.
= 0.000649cum. Say 6 cudm.
| Second class Ivory coast | cum | 0.006 | 191038 | 1146.228
| Carriage of timber | cum | 0.006 | 60.81 | 0.36486
Labour-
| Carpenter 2nd class | Day | 0.33 | 141.6 | 500
| Beldar | Day | 0.25 | 135.25
| Sundries | L.S. | 19.76 | 1 | 19.76
| TOTAL |  |  |  | 2942.5005
| Add 1 % for water charges |  |  |  | 29.425
| TOTAL |  |  |  | 2971.9255
| Cost of 1.61 sqm |  |  |  | 2971.9255
| Cost of 1 sqm |  |  |  | 1845.9164
| Say |  |  |  | 1846
172
Providing and fixing of 5mm toughned glasses in windows and ventelator.
| Discription | Unit | Quantity | Rate | Amount
Details of cost for = 0.85 m x 2m = 1.70 Sqm
Materials-
| C Channel = 0.85m @ 2.21 Kg/m = 1.88 Kg | kilogram | 1.88 | 0 | 0
| Connectors | Nos | 5 | 0 | 0
| Toughened Glass 10mm thick | Sqm | 1.7 | 753.2 | 1280.44
Labour for cutting assembling, finishing & erection
| Labour Rate MS | KG |  |  | 0
| Labour Rate Glasswork | Sqm |  |  | 170
| TOTAL |  |  |  | 1450.44
| Add for water charges @ 1% on all except |  |  |  | 14.5044
| TOTAL |  |  |  | 1464.9444
| Cost for 1.7 sqm |  |  |  | 1464.9444
| Cost per 1 Sqm |  |  |  | 861.732
| Say |  |  |  | 862
81
16.68 | Providing and laying 60mm thick factory made cement concrete interlocking paver
block of M -30 grade made by block making machine with strong vibratory
compaction and of approved size and design/ shape laid in required colour and
pattern over and including 50mm thick compacted bed of course sand, filling the
joints with coarse sand etc. all complete as per the direction of Engineer-in-
charge.
| Description | Unit | Quantity | Rate | Amount
Details of cost for 10.00 sqm
Materials.
Interlocking C.C. paver block ( 60 mm thick), M.30
| Bedding Layer 50mm thick | sqm | 10 | 645.84 | 6458.4
| Coarse sand =10x0.050=0.50 cum | cum | 0.5 | 1271.16 | 635.58
| Carriage of coarse sand | cum | 0.5 | 106.49 | 53.245
| Fine sand . | cum | 0.15 | 953.37 | 143.0055
| Carriage of fine sand | cum | 0.15 | 106.49 | 15.9735
Laying charges (Bassed on actual observation)
| Mason -1st class | Day | 0.5 | 435 | 217.5
| Mason -2nd class | Day | 0.5 | 399 | 199.5
| Beldar | Day | 1 | 329 | 329
| Coolie | Day | 0.5 | 329 | 164.5
| TOTAL |  |  |  | 8216.704
| Add for water charges @ 1% on all except |  |  |  | 82.167
| TOTAL |  |  |  | 8298.871
| Cost for 10 sqm |  |  |  | 8298.871
| Cost per 1 Sqm |  |  |  | 829.8871
| Say |  |  |  | 830
78
9.40 | Providing and fixing wooden moulded beading to door and window frames with
iron screws, plugs and priming coat on unexposed surface etc. complete :
9.40.1 | 2nd class teak wood
9.40.1.1 50x12 mm
| Description | Unit | Quantity | Rate | Amount
Details of cost for beading for a window of
size 140x110cm i.e. 500cm long (5 metre)
Materials-
Teak wood Ilnd class in planks
500x5x1.2cm = 0.003 cum+
Add for wastage @ 10% = 0.0003 cum.
= 0.0033 cum. Say 3.3 cudm.
| Second class teak wood | Rmt | 5 | 60 | 300
| Carriage of timber | cum | 0.0033
| Iron screws 40 mm | 100 Nos | 36 | 52 | 18.72
| Painting with priming coat Area = |  |  |  | 0
| 500(5+1.2+1.2) = 0.37 sqm |  |  |  | 0
| (Rate as per item no 13.50.1 of SH : Finishing) | sqm | 0.37 | 98 | 36.26
| Labour- |  |  |  | 0
| For plaining, fixing and making design |  |  |  | 0
| Carpenter 1st class | Day | 0.53 | 435 | 230.55
| TOTAL |  |  |  | 585.53
| Add for water charges @ 1% on all except |  |  |  | 5.8553
| TOTAL |  |  |  | 591.3853
| Cost for 5 rmt |  |  |  | 591.3853
| Cost per 1 Rmt |  |  |  | 118.2771
| Say |  |  |  | 119

## Material Rate
List of Material Rate as on 27/09/16
Sr. No | item | Unit | Market rate
1 | Stainless steel | Kg | 390
2 | Toughened Glass 12 mm thick | Sqm | 2797.6
3 | Toughened Glass 10 mm thick | Sqm | 2152
4 | Toughened Glass 5 mm thick | Sqm | 753.2
4 | Texture Paint | Litre | 250
5 | Waterproofing Cement Paint | Litre | 45
6 | Ivory coast (488 Rs/Rft for 5.25"x2.25") | Cum | 191038
7 | 32mm thick Flush Door Shutter with 1mm laminate | Sqm | 3443.2
8 | Melamine Polish on frame | Rmt | 373.92 | 243.75
9 | Window Shutter | Sqm | 6456 | 90.8626
10 | Teak Wood Beading | Rmt | 60
11 | Gypsum Board | Per Board | 370 | 0.243 | 56.25 | 131.25
12 | Plaster of Paris (POP) | Kg | 4.5 | 1538.7654 | 0.05625 | 0.13125 | 0.0073828
13 | Marble Stone | Sqm | 645.6 |  |  |  | 1410.4
14 | Cement | Tonne | 5000 |  |  |  | 191038.3069
15 | Coarse Sand | Cum | 1271.16
16 | Fine Sand | Cum | 953.37
17 | Italian Marble | Sqm | 2474.8
18 | Botticino Marble | Sqm | 2474.8
19 | Kota stone (25mm thick) | Sqm | 322.8
20 | Granite Marble | Sqm | 1129.8
21 | Vetrified Tile (600 x 600) Wooden Print | Sqm | 451.92
22 | Vetrified Tile (1200 x 600) Wooden print | Sqm | 645.6
23 | Vetrified Tile (600 x 600) | Sqm | 645.6
24 | Ceramic Floor Tiles | Sqm | 430.4
25 | Ceramic Wall Tiles | Sqm | 430.4
26 | Plastic Emulsion Paint | Litre | 250
27 | Oil Bound Distemper | Litre | 100
28 | Dry Distemper | Kg | 65
29 | Cement Fibre slats | Sqm | 968.76
30 | Aluminium | Kg | 200
31 | 5.5 mm thick Float Glass | Sqm | 520
32 | MS Steel | Kg | 44
33 | Pavers | Sqm | 645.84
33 | Velvet Touch Paint | Litre | 350
33 | Exterior rustic and matt paint | Litre | 200

## Labour Rate
Labour Rate as on 27/09/16
Sr. No | Description | Unit | Rate
1 | SS Railing making and fixing | Kg | 140
2 | 12mm thick toughened glass fixing | Sqm | 269
3 | MS Steel railing fixing | Kg | 35
4 | Texture Paint | Sqm | 107.6
5 | False Ceiling | Sqm | 269
6 | Marble Stone Flooring & With polishing | Sqm | 430.4
7 | Marble stone mirror polishing | Sqm | 215.2
8 | Marble Stone Cladding | Sqm | 538
9 | Marble stone Diamond Polishing | Sqm | 322.8
10 | Kota Stone Flooring | Sqm | 161.4
11 | Kota Stone Polishing | Sqm | 215.2
12 | Kota Stone Skirting | Rmt | 49.2
13 | Granite Stone Flooring | Sqm | 376.6
14 | Granite Skirting | Rmt | 65.6
15 | Granite Counter Fixing | Sqm | 645.6
16 | Vetrified Tile Flooring | Sqm | 215.2
17 | Vetrified Tile Skirting | Rmt | 45.92
18 | Ceramic Tile Flooring | Sqm | 193.68
19 | Ceramic wall Tile (Dado) | Sqm | 247.48
20 | MS Railing for staircase | Kg | 35
21 | Plastic Emulsion Paint | Sqm | 161.4
22 | Oil Bound Distemper | Sqm | 96.84
23 | POP Work | Sqm | 129.12
24 | Shera Slat Panelling | Sqm | 250
25 | Glass Fixing | Sqm | 100
26 | Shutter Fixing with accessories | Sqm | 500
27 | Fabrication work | Kg | 40

## Sheet1
| Extra items | Area | Rate | Total
1 | ceiling plaster in both buildings | 13000 | 20 | 260000
2 | plumbing work in 1 building(internal and external) |  |  | 240000
3 | brickbat on both buildings |  |  | 400000
4 | boundary, backfilling and ss/hpl gates on both plots |  |  | 500000
5 | external finishing of 1 plot |  |  | 1000000
| staircase railing and basement staircase railing |  |  | ?